## October 2022
Terminale GNL Adriatico - October 2022
Days | Send out (i) |  | Allocated | Unloaded LNG (ii) |  | Scheduled/Allocated (iii) | LNG in Storage (iv)
| (GJ) | (kWh) |  | (GJ) | (kWh) |  | (GJ) | (kWh)
1 | 880493.188 | 244581441 | Allocated |  |  |  | 3387876.057 | 941076683
2 | 884000.473 | 245555687 | Allocated | 3347568.0396 | 929880011 | Allocated | 3849143.068 | 1069206408
3 | 980960.206 | 272488946 | Allocated |  |  |  | 2845540.02 | 790427783
4 | 1000101.456 | 277805960 | Allocated |  |  |  | 1831266.745 | 508685207
5 | 928041.376 | 257789271 | Allocated | 3488160.3624 | 968933434 | Allocated | 2380593.301 | 661275917
6 | 563626.454 | 156562904 | Allocated |  |  |  | 3840374.283 | 1066770634
7 | 1018662.354 | 282961765 | Allocated |  |  |  | 2805251.327 | 779236480
8 | 1019448.176 | 283180049 | Allocated |  |  |  | 1770986.813 | 491940781
9 | 1019030.296 | 283063971 | Allocated | 3371552.604 | 936542390 | Allocated | 3745998.924 | 1040555257
10 | 1021278.521 | 283688478 | Allocated |  |  |  | 3095551.733 | 859875481
11 | 1019977.927 | 283327202 | Allocated |  |  |  | 2064108.148 | 573363374
12 | 1019586.452 | 283218459 | Allocated | 3353198.9112 | 931444142 | Allocated | 4322675.533 | 1200743204
13 | 1020331.253 | 283425348 | Allocated |  |  |  | 3383276.572 | 939799048
14 | 1019559.017 | 283210838 | Allocated |  |  |  | 2352630.336 | 653508427
15 | 1021409.86 | 283724961 | Allocated |  |  |  | 1314441.209 | 365122558
16 | 1017161.053 | 282544737 | Allocated | 3351026.3652 | 930840657 | Allocated | 3189436.657 | 885954627
17 | 1020093.966 | 283359435 | Allocated |  |  |  | 2631770.128 | 731047258
18 | 1020690.965 | 283525268 | Allocated | 3520976.634 | 978049065 | Allocated | 5146849.02 | 1429680283
19 | 1021070.729 | 283630758 | Allocated |  |  |  | 4113933.624 | 1142759340
20 | 1021365.004 | 283712501 | Allocated |  |  |  | 3078136.109 | 855037808
21 | 1021178.362 | 283660656 | Allocated | 3919033.3536 | 1088620376 | Allocated | 4244673.232 | 1179075898
22 | 1021238.489 | 283677358 | Allocated |  |  |  | 5002250.707 | 1389514085
23 | 1020000.067 | 283333352 | Allocated |  |  |  | 3967005.082 | 1101945856
24 | 1019883.913 | 283301087 | Allocated |  |  |  | 2925627.212 | 812674226
25 | 1021740.664 | 283816851 | Allocated | 3169103.0004 | 880306389 | Allocated | 4931791.224 | 1369942007
26 | 1020288.467 | 283413463 | Allocated |  |  |  | 4052979.181 | 1125827550
27 | 1022356.163 | 283987823 | Allocated |  |  |  | 3014728.768 | 837424658
28 | 1018259.147 | 282849763 | Allocated |  |  |  | 1980832.285 | 550231190
29 | 1018552.144 | 282931151 | Allocated | 1185920.3592 | 329422322 | Allocated | 2168294.882 | 602304134
30 | 1018258.69 | 282849636 | Allocated | 3364842.7198 | 934678533.27 | Allocated | 2512375.354 | 697882043
31 | 1018950.714 | 283041865 | Allocated |  |  |  | 3478324.321 | 966201200
(i) | - Send-out injected into the grid during Gas Day D;
(ii) | - Gross unloaded LNG (including Losses and Consumption) from Users during Gas Day D; - Assumes all Scheduled/Allocated LNG on the Gas Day (D) that discharge begins;
(iii) | - Scheduled on the basis of the User's Plan / Allocated when the measured value is available;
(iv) | - LNG in Storage net of the minimum operating level at 6:00 a.m. of Day D+1 converted to energy using a conversion factor 24.1 GJ/cubic meter of LNG;

## November 2022
Terminale GNL Adriatico - November 2022
Days | Send out (i) |  | Allocated | Unloaded LNG (ii) |  | Scheduled/Allocated (iii) | LNG in Storage (iv)
| (GJ) | (kWh) |  | (GJ) | (kWh) |  | (GJ) | (kWh)
1 | 1020463.481 | 283462078 | Allocated |  |  |  | 2436452.16 | 676792267
2 | 1020152.686 | 283375746 | Allocated | 3189320.928 | 885922480 | Allocated | 3718193.308 | 1032831474
3 | 1020429.252 | 283452570 | Allocated |  |  |  | 3583257.649 | 995349347
4 | 1020728.369 | 283535658 | Allocated |  |  |  | 2549097.97 | 708082769
5 | 1019037.168 | 283065880 | Allocated |  |  |  | 1511228.723 | 419785756
6 | 1015848.58 | 282180161 | Allocated | 3937450.4928 | 1093736248 | Allocated | 2784646.309 | 773512864
7 | 1021356.23 | 283710064 | Allocated |  |  |  | 3474095.976 | 965026660
8 | 1020770.748 | 283547430 | Allocated | 1234175.6412 | 342826567 | Allocated | 3448704.457 | 957973460
9 | 1018553.033 | 282931398 | Allocated |  |  |  | 2661450.242 | 739291734
10 | 1019105.129 | 283084758 | Allocated | 3505254.3072 | 973681752 | Allocated | 2873871.257 | 798297571
11 | 1020792.78 | 283553550 | Allocated |  |  |  | 4114118.23 | 1142810619
12 | 1020619.073 | 283505298 | Allocated |  |  |  | 3076787.232 | 854663120
13 | 1018570.122 | 282936145 | Allocated | 3372642.5976 | 936845166 | Allocated | 3481716.396 | 967143443
14 | 1021002.707 | 283611863 | Allocated |  |  |  | 4401076.207 | 1222521169
15 | 1019557.588 | 283210441 | Allocated |  |  |  | 3362243.056 | 933956404
16 | 1021246.585 | 283679607 | Allocated | 3502840.2768 | 973011188 | Allocated | 5080126.483 | 1411146245
17 | 1018202.209 | 282833947 | Allocated |  |  |  | 4826623.403 | 1340728723
18 | 1017696.571 | 282693492 | Allocated |  |  |  | 3794075.773 | 1053909937
19 | 1017221.087 | 282561413 | Allocated |  |  |  | 2760240.721 | 766733534
20 | 1017035.903 | 282509973 | Allocated | 3329933.6196 | 924981561 | Allocated | 3858035.004 | 1071676390
21 | 1022553.6 | 284042677 | Allocated |  |  |  | 4052858.7 | 1125794078
22 | 592895.6712 | 164693242 | Allocated |  |  |  | 3458412.178 | 960670049
23 | 1016944.7098 | 282484641.6069 | Allocated | 3368464.7508 | 935684653 | Allocated | 3969795.38 | 1102720939
24 | 1020051.421 | 283347616.9526 | Allocated |  |  |  | 4780386.348 | 1327885097
25 | 1036514.5598 | 287920711.043 | Allocated |  |  |  | 3729689.249 | 1036024791
26 | 1036748.466 | 287985685 | Allocated |  |  |  | 2681261.165 | 744794768
27 | 1036567.678 | 287935466 | Allocated | 3367353.0528 | 935375848 | Allocated | 4273839.775 | 1187177715
28 | 1033869.031 | 287185842 | Allocated |  |  |  | 3985892.252 | 1107192292
29 | 1033971.145 | 287214207 | Allocated |  |  |  | 2938874.259 | 816353961
30 | 1037767.194 | 288268665 | Allocated |  |  |  | 1885659.867 | 523794407
(i) | - Send-out injected into the grid during Gas Day D;
(ii) | - Gross unloaded LNG (including Losses and Consumption) from Users during Gas Day D; - Assumes all Scheduled/Allocated LNG on the Gas Day (D) that discharge begins;
(iii) | - Scheduled on the basis of the User's Plan / Allocated when the measured value is available;
(iv) | - LNG in Storage net of the minimum operating level at 6:00 a.m. of Day D+1 converted to energy using a conversion factor 24.1 GJ/cubic meter of LNG;

## December 2022
Terminale GNL Adriatico - December 2022
Days | Send out (i) |  | Allocated | Unloaded LNG (ii) |  | Scheduled/Allocated (iii) | LNG in Storage (iv)
| (GJ) | (kWh) |  | (GJ) | (kWh) |  | (GJ) | (kWh)
1 | 1040023.26 | 288895350 | Allocated |  |  |  | 827326.273 | 229812854
2 | 1035061.4052 | 287517057 | Allocated | 4897325.5452 | 1360368207 | Allocated | 4582375.4 | 1272882068
3 | 1032884.7 | 286912414 | Allocated |  |  |  | 3686026.1 | 1023896132
4 | 1037243.4 | 288123160 | Allocated |  |  |  | 2630635.5 | 730732083
5 | 1037349.299 | 288152583 | Allocated | 3352385.8332 | 931218287 | Allocated | 4232562.018 | 1175711672
6 | 1039145.602 | 288651556 | Allocated |  |  |  | 3906111.853 | 1085031070
7 | 1034945.73 | 287484925 | Allocated | 3351062.8116 | 930850781 | Allocated | 4644676.597 | 1290187944
8 | 1037706.019 | 288251672 | Allocated |  |  |  | 5189774.494 | 1441604026
9 | 1037339.035 | 288149732 | Allocated |  |  |  | 4142456.456 | 1150682349
10 | 1035762.037 | 287711677 | Allocated |  |  |  | 3094386.498 | 859551805
11 | 1035521.471 | 287644853 | Allocated |  |  |  | 2042031.97 | 567231103
12 | 1031722.978 | 286589716 | Allocated | 3446599.392 | 957388720 | Allocated | 3081546.741 | 855985206
13 | 1039574.646 | 288770735 | Allocated |  |  |  | 3424976.079 | 951382244
14 | 1039815.058 | 288837516 | Allocated | 3338221.176 | 927283660 | Allocated | 5317608.847 | 1477113569
15 | 1038526.92 | 288479700 | Allocated |  |  |  | 4677057.598 | 1299182666
16 | 1034821.386 | 287450385 | Allocated |  |  |  | 3628628.068 | 1007952241
17 | 1042165.328 | 289490369 | Allocated |  |  |  | 2576826.948 | 715785263
18 | 831574.296 | 230992860 | Allocated | 3513130.9452 | 975869707 | Allocated | 3683871.775 | 1023297715
19 | 1032665.105 | 286851418 | Allocated |  |  |  | 4234953.702 | 1176376028
20 | 1032800.486 | 286889024 | Allocated |  |  |  | 3188516.519 | 885699033
21 | 1031278.604 | 286466279 | Allocated | 3366039.924 | 935011090 | Allocated | 3806338.094 | 1057316137
22 | 1035121.702 | 287533806 | Allocated |  |  |  | 4490580.956 | 1247383599
23 | 1040441.738 | 289011594 | Allocated |  |  |  | 3435891.451 | 954414292
24 | 1039958.662 | 288877406 | Allocated |  |  |  | 2382678.312 | 661855087
25 | 1036099.21 | 287805336 | Allocated | 3366547.697 | 935152138.0556 | Allocated | 3799840.252 | 1055511181
26 | 1035354.125 | 287598368 | Allocated |  |  |  | 3666034.401 | 1018342889
27 | 1038651.509 | 288514308 | Allocated |  |  |  | 2610859.04 | 725238622
28 | 1036305 | 287862487 | Allocated | 3401416.6236 | 944837951 | Allocated | 4385140.082 | 1218094467
29 | 1036765.595 | 287990443 | Allocated |  |  |  | 3936527.981 | 1093479995
30 | 1039079.156 | 288633099 | Allocated |  |  |  | 2884786.388 | 801329552
31 | 1017002.034 | 282500565 | Allocated |  |  |  | 1834394.275 | 509553965
(i) | - Send-out injected into the grid during Gas Day D;
(ii) | - Gross unloaded LNG (including Losses and Consumption) from Users during Gas Day D; - Assumes all Scheduled/Allocated LNG on the Gas Day (D) that discharge begins;
(iii) | - Scheduled on the basis of the User's Plan / Allocated when the measured value is available;
(iv) | - LNG in Storage net of the minimum operating level at 6:00 a.m. of Day D+1 converted to energy using a conversion factor 24.1 GJ/cubic meter of LNG;

## January 2023
Terminale GNL Adriatico - January 2023
Days | Send out (i) |  | Allocated | Unloaded LNG (ii) |  | Scheduled/Allocated (iii) | LNG in Storage (iv)
| (GJ) | (kWh) |  | (GJ) | (kWh) |  | (GJ) | (kWh)
1 | 1028849.702 | 285791584 | Allocated | 3994533.252 | 1109592570 | Allocated | 4350798.022 | 1209764771
2 | 1027118.171 | 285310603 | Allocated |  |  |  | 3765065.322 | 1046898377
3 | 1028924.91 | 285812475 | Allocated |  |  |  | 2726053.486 | 757995074
4 | 1022916.611 | 284143503 | Allocated |  |  |  | 1691720.584 | 470392777
5 | 1022267.466 | 283963185 | Allocated | 3530147.2056 | 980596446 | Allocated | 4221928.396 | 1173931820
6 | 1019844.18 | 283290050 | Allocated |  |  |  | 3188390.938 | 886550700
7 | 1022967.6984 | 284157694 | Allocated |  |  |  | 2153997.053 | 598931446
8 | 951499.49 | 264305414 | Allocated |  |  |  | 1191645.892 | 331344092
9 | 586571.144 | 162936429 | Allocated |  |  |  | 599740.685 | 166761396
10 | 1018591.769 | 282942158 | Allocated | 5095543.6656 | 1415428796 | Allocated | 3559021.121 | 989606585
11 | 1037496.607 | 288193502 | Allocated |  |  |  | 3642826.199 | 1012909076
12 | 1037570.184 | 288213940 | Allocated |  |  |  | 2590114.935 | 720196568
13 | 1039146.894 | 288651915 | Allocated | 3496376.79 | 971215775 | Allocated | 4909643.96 | 1365155144
14 | 1041868.832 | 289408009 | Allocated |  |  |  | 3997773.1 | 1111604132
15 | 1042159.54 | 289488761 | Allocated |  |  |  | 2944150.563 | 818638239
16 | 1040114.027 | 288920563 | Allocated | 4955079.6252 | 1376411007 | Allocated | 2626129.833 | 730210720
17 | 1038664.361 | 288517878 | Allocated |  |  |  | 5707938.929 | 1587125717
18 | 1034749.577 | 287430438 | Allocated |  |  |  | 4785468.895 | 1330627543
19 | 1035070.697 | 287519638 | Allocated |  |  |  | 3735576.678 | 1038698887
20 | 1033161.21 | 286989225 | Allocated |  |  |  | 2694993.889 | 749358773
21 | 631675.573 | 175465437 | Allocated |  |  |  | 2064069.425 | 573926545
22 | 236860.362 | 65794545 | Allocated |  |  |  | 1822290.955 | 506698631
23 | 513307.534 | 142585426 | Allocated |  |  |  | 1285835.05 | 357533937
24 | 236952.727 | 65820202 | Allocated |  |  |  | 1052583.108 | 292676874
25 | 157694.962 | 43804156 | Allocated |  |  |  | 896723.363 | 249339162
26 | 157739.026 | 43816396 | Allocated |  |  |  | 735811.412 | 204596655
27 | 157764.254 | 43823404 | Allocated |  |  |  | 563903.154 | 156796561
28 | 154047.708 | 42791030 | Allocated |  |  |  | 412534.576 | 114707645
29 | 158209.229 | 43947008 | Allocated | 5085047.7792 | 1412513272 | Allocated | 2601616.715 | 723394704
30 | 827552.65 | 229875736 | Allocated |  |  |  | 4534727.064 | 1260907314
31 | 1033209.299 | 287002583 | Allocated |  |  |  | 3484102.458 | 968775013
(i) | - Send-out injected into the grid during Gas Day D;
(ii) | - Gross unloaded LNG (including Losses and Consumption) from Users during Gas Day D; - Assumes all Scheduled/Allocated LNG on the Gas Day (D) that discharge begins;
(iii) | - Scheduled on the basis of the User's Plan / Allocated when the measured value is available;
(iv) | - LNG in Storage net of the minimum operating level at 6:00 a.m. of Day D+1 converted to energy using a conversion factor 24.1GJ/cubic meter of LNG;
(v) | - Energetic values are reported at the temperature 25°/15°

## February 2023
Terminale GNL Adriatico - February 2023
Days | Send out (i) |  | Allocated | Unloaded LNG (ii) |  | Scheduled/Allocated (iii) | LNG in Storage (iv)
| (GJ) | (kWh) |  | (GJ) | (kWh) |  | (GJ) | (kWh)
1 | 977982.646 | 271661846 | Allocated |  |  |  | 2492843.725 | 693149740
2 | 836418.956 | 232338599 | Allocated | 4952889.3672 | 1375802602 | Allocated | 2817577.538 | 783443871
3 | 834198.444 | 231721790 | Allocated |  |  |  | 5794929.49 | 1611313950
4 | 833804.482 | 231612356 | Allocated |  |  |  | 4940581.973 | 1373757639
5 | 1030514.911 | 286254142 | Allocated |  |  |  | 3883398.611 | 1079801638
6 | 1029363.142 | 285934206 | Allocated |  |  |  | 2839103.078 | 789429173
7 | 1031956.762 | 286654656 | Allocated |  |  |  | 1789814.829 | 497668454
8 | 1033211.466 | 287003185 | Allocated |  |  |  | 737699.54 | 205121661
9 | 1035918.191 | 287755053 | Allocated | 3787805.3292 | 1052168147 | Allocated | 2295575.19 | 638298073
10 | 978513.552 | 271809320 | Allocated | 2130086.0628 | 591690573 | Allocated | 3805887.696 | 1058249276
11 | 1036593.688 | 287942691 | Allocated |  |  |  | 3628046.967 | 1008799624
12 | 1036416.931 | 287893592 | Allocated |  |  |  | 2571246.412 | 714950064
13 | 1028690.59 | 285747386 | Allocated | 5088877.344 | 1413577040 | Allocated | 2722369.873 | 756970824
14 | 1034239.874 | 287288854 | Allocated |  |  |  | 5610901.255 | 1560143826
15 | 1035064.444 | 287517901 | Allocated |  |  |  | 4557577.26 | 1267260944
16 | 1035724.36 | 287701211 | Allocated |  |  |  | 3501680.513 | 973662694
17 | 1035660.848 | 287683569 | Allocated |  |  |  | 2448356.758 | 680779879
18 | 1036304.586 | 287862385 | Allocated | 5131485.2376 | 1425412566 | Allocated | 2673795.782 | 743464515
19 | 1022377.673 | 283993798 | Allocated |  |  |  | 5525319.376 | 1536347285
20 | 1033388.334 | 287052315 | Allocated |  |  |  | 4473839.113 | 1243977064
21 | 1035302.076 | 287583910 | Allocated |  |  |  | 3422837.719 | 951739995
22 | 1034981.852 | 287494959 | Allocated |  |  |  | 2367369.524 | 658260906
23 | 1034577.49 | 287382636 | Allocated | 3784968.72 | 1051380200 | Allocated | 4732720.043 | 1315960417
24 | 1027571.303 | 285436473 | Allocated |  |  |  | 4124277.268 | 1146779354
25 | 1028237.288 | 285621469 | Allocated |  |  |  | 3069988.792 | 853628293
26 | 625512.913 | 173753587 | Allocated |  |  |  | 2440944.27 | 678718794
27 | 313050.215 | 86958393 | Allocated |  |  |  | 2125357.445 | 590968036
28 | 312638.764 | 86844101 | Allocated |  |  |  | 1803950.946 | 501599084
(i) | - Send-out injected into the grid during Gas Day D;
(ii) | - Gross unloaded LNG (including Losses and Consumption) from Users during Gas Day D; - Assumes all Scheduled/Allocated LNG on the Gas Day (D) that discharge begins;
(iii) | - Scheduled on the basis of the User's Plan / Allocated when the measured value is available;
(iv) | - LNG in Storage net of the minimum operating level at 6:00 a.m. of Day D+1 converted to energy using a conversion factor 24.1GJ/cubic meter of LNG;
(v) | - Energetic values are reported at the temperature 25°/15°

## March 2023
Terminale GNL Adriatico - March 2023
Days | Send out (i) |  | Allocated | Unloaded LNG (ii) |  | Scheduled/Allocated (iii) | LNG in Storage (iv)
| (GJ) | (kWh) |  | (GJ) | (kWh) |  | (GJ) | (kWh)
1 | 827862.145 | 229961707 | Allocated |  |  |  | 941930.272 | 261909207
2 | 1029640.871 | 286011353 | Allocated | 4955584.4604 | 1376551239 | Allocated | 2437943.209 | 677884331
3 | 1033463.048 | 287073069 | Allocated |  |  |  | 3839413.146 | 1067571223
4 | 1034497.069 | 287360297 | Allocated |  |  |  | 2785966.844 | 774654333
5 | 1034533.224 | 287370340 | Allocated |  |  |  | 1732857.269 | 481831072
6 | 1034523.655 | 287367682 | Allocated | 4941545.1156 | 1372651421 | Allocated | 4146878.279 | 1153063697
7 | 1034012.095 | 287225582 | Allocated |  |  |  | 4608424.116 | 1281399209
8 | 1034619.008 | 287394169 | Allocated |  |  |  | 3552467.902 | 987784424
9 | 1035022.918 | 287506366 | Allocated |  |  |  | 2498345.79 | 694679621
10 | 1035515.408 | 287643169 | Allocated |  |  |  | 1445389.506 | 401898984
11 | 1035023.738 | 287506594 | Allocated | 5079806.37 | 1411057325 | Allocated | 4809363.022 | 1337271444
12 | 1034997.559 | 287499322 | Allocated |  |  |  | 4467339.583 | 1242169832
13 | 1035767.135 | 287713093 | Allocated |  |  |  | 3412612.444 | 948896798
14 | 1035694.721 | 287692978 | Allocated |  |  |  | 2359589.228 | 656097550
15 | 1033043.785 | 286956607 | Allocated | 3595868.6184 | 998852394 | Allocated | 3857178.993 | 1072511120
16 | 1030246.351 | 286179542 | Allocated |  |  |  | 3954155.033 | 1099475874
17 | 1024764.588 | 284656830 | Allocated |  |  |  | 2903833.302 | 807427789
18 | 1013381.618 | 281494894 | Allocated |  |  |  | 1860923.939 | 517440757
19 | 1012611.658 | 281281016 | Allocated | 3922011.9432 | 1089447762 | Allocated | 4566061.848 | 1269620133
20 | 1016658.702 | 282405195 | Allocated |  |  |  | 3792747.551 | 1054595582
21 | 1017759.726 | 282711035 | Allocated |  |  |  | 2742655.023 | 762611229
22 | 1016083.382 | 282245384 | Allocated |  |  |  | 1695641.946 | 471483135
23 | 1016965.883 | 282490523 | Allocated | 4949464.2624 | 1374851184 | Allocated | 4714130.077 | 1310791368
24 | 1005899.886 | 279416635 | Allocated |  |  |  | 4627966.283 | 1286833023
25 | 1026708.469 | 285196797 | Allocated |  |  |  | 3586772.207 | 997322936
26 | 1033686.3456 | 287135096 | Allocated |  |  |  | 2536879.028 | 705394013
27 | 1031769.191 | 286602553 | Allocated |  |  |  | 1480430.847 | 411642433
28 | 1030825.26 | 286340350 | Allocated | 4920940.2708 | 1366927853 | Allocated | 4269343.715 | 1187115926
29 | 1034490.02 | 287358339 | Allocated |  |  |  | 4346410.189 | 1208544708
30 | 1035692.651 | 287692403 | Allocated |  |  |  | 3294617.902 | 916087727
31 | 1034884.523 | 287467923 | Allocated |  |  |  | 2242458.097 | 623528555
(i) | - Send-out injected into the grid during Gas Day D;
(ii) | - Gross unloaded LNG (including Losses and Consumption) from Users during Gas Day D; - Assumes all Scheduled/Allocated LNG on the Gas Day (D) that discharge begins;
(iii) | - Scheduled on the basis of the User's Plan / Allocated when the measured value is available;
(iv) | - LNG in Storage net of the minimum operating level at 6:00 a.m. of Day D+1 converted to energy using a conversion factor 24.1GJ/cubic meter of LNG;
(v) | - Energetic values are reported at the temperature 25°/15°

## April 2023
Terminale GNL Adriatico - April 2023
Days | Send out (i) |  | Allocated | Unloaded LNG (ii) |  | Scheduled/Allocated (iii) | LNG in Storage (iv)
| (GJ) | (kWh) |  | (GJ) | (kWh) |  | (GJ) | (kWh)
1 | 1034618.051 | 287393903 | Allocated | 4959398.9484 | 1377610819 | Allocated | 3923463.316 | 1090941863
2 | 1034017.812 | 287227170 | Allocated |  |  |  | 5137536.318 | 1428521944
3 | 1034882.057 | 287467238 | Allocated |  |  |  | 4086111.67 | 1136167187
4 | 1034526.55 | 287368486 | Allocated |  |  |  | 3037014.921 | 844459716
5 | 1034176.788 | 287271330 | Allocated |  |  |  | 1984058.613 | 551679071
6 | 1020547.343 | 283485373 | Allocated | 3599872.2252 | 999964507 | Allocated | 4624597.102 | 1285896202
7 | 850231.663 | 236175462 | Allocated |  |  |  | 3759467.194 | 1045341784
8 | 842286.971 | 233968603 | Allocated |  |  |  | 2892071.021 | 804157219
9 | 845209.483 | 234780412 | Allocated | 3470512.7664 | 964031324 | Allocated | 3226189.379 | 897060777
10 | 509282.773 | 141467437 | Allocated |  |  |  | 5075907.792 | 1411385773
11 | 508753.332 | 141320370 | Allocated |  |  |  | 4552002.485 | 1265710846
12 | 508699.541 | 141305428 | Allocated |  |  |  | 4025034.242 | 1119184251
13 | 506482.164 | 140689490 | Allocated |  |  |  | 3617586.5 | 1005891022
14 | 702182.664 | 195050740 | Allocated |  |  |  | 2770161.498 | 770259564
15 | 848218.608 | 235616280 | Allocated |  |  |  | 1893882.136 | 526604976
16 | 848347.65 | 235652125 | Allocated |  |  |  | 1019379.625 | 283444451
17 | 1027181.743 | 285328262 | Allocated | 5113673.964 | 1420464990 | Allocated | 3319612.539 | 923037632
18 | 1032326.557 | 286757377 | Allocated |  |  |  | 4078208.756 | 1133969735
19 | 1031360.137 | 286488927 | Allocated |  |  |  | 3029295.947 | 842313410
20 | 1037110.9608 | 288086378 | Allocated |  |  |  | 1972173.954 | 548374473
21 | 1030063.817 | 286128838 | Allocated | 4953506.699 | 1372794015 | Allocated | 5469571.629 | 1520846299
22 | 1030402.17 | 286222825 | Allocated |  |  |  | 4864801.874 | 1352686541
23 | 1030841.5 | 286344861 | Allocated |  |  |  | 3815949.977 | 1061047152
24 | 1028447.7084 | 285679919 | Allocated |  |  |  | 2769793.859 | 770157340
25 | 1030456.847 | 286238013 | Allocated |  |  |  | 1722657.345 | 478994924
26 | 1031234.551 | 286454042 | Allocated | 5085919.548 | 1412755430 | Allocated | 5420807.82 | 1507287237
27 | 1032724.354 | 286867876 | Allocated |  |  |  | 4748283.186 | 1320287839
28 | 1035194.076 | 287553910 | Allocated |  |  |  | 3695817.014 | 1027643481
29 | 1035059.566 | 287516546 | Allocated |  |  |  | 2642370.713 | 734726591
30 | 1035574.261 | 287659517 | Allocated |  |  |  | 1587944.234 | 441537158
(i) | - Send-out injected into the grid during Gas Day D;
(ii) | - Gross unloaded LNG (including Losses and Consumption) from Users during Gas Day D; - Assumes all Scheduled/Allocated LNG on the Gas Day (D) that discharge begins;
(iii) | - Scheduled on the basis of the User's Plan / Allocated when the measured value is available;
(iv) | - LNG in Storage net of the minimum operating level at 6:00 a.m. of Day D+1 converted to energy using a conversion factor 24.1GJ/cubic meter of LNG;
(v) | - Energetic values are reported at the temperature 25°/15°

## May 2023
Terminale GNL Adriatico - May 2023
Days | Send out (i) |  | Allocated | Unloaded LNG (ii) |  | Scheduled/Allocated (iii) | LNG in Storage (iv)
| (GJ) | (kWh) |  | (GJ) | (kWh) |  | (GJ) | (kWh)
1 | 511029.097 | 141952527 | Allocated |  |  |  | 1077455.222 | 299592710
2 | 511017.156 | 141949210 | Allocated |  |  |  | 551160.839 | 153253487
3 | 314659.282 | 87405356 | Allocated |  |  |  | 231316.475 | 64318895
4 | 668749.118 | 185763644 | Allocated | 5087706.088 | 1413251691 | Allocated | 4601195.327 | 1279389202
5 | 1025116.682 | 284754634 | Allocated |  |  |  | 3627327.098 | 1008599460
6 | 1020676.417 | 283521227 | Allocated |  |  |  | 2586868.3 | 719293822
7 | 1027549.163 | 285430323 | Allocated |  |  |  | 1540895.592 | 428455008
8 | 1036188.364 | 287830101 | Allocated | 4942665.522 | 1372962645 | Allocated | 4646773.654 | 1292062522
9 | 1034583.613 | 287384337 | Allocated |  |  |  | 4426662.387 | 1230859300
10 | 1035521.658 | 287644905 | Allocated |  |  |  | 3373644.877 | 938061639
11 | 1039328.154 | 288702265 | Allocated |  |  |  | 2319340.728 | 644906219
12 | 1039278.51 | 288688475 | Allocated | 4957041.65 | 1376956014 | Allocated | 4153621.216 | 1154938610
13 | 1039122.072 | 288645020 | Allocated |  |  |  | 5203146.998 | 1446765376
14 | 1039755.233 | 288820898 | Allocated |  |  |  | 4148352.928 | 1153473731
15 | 1039858.276 | 288849521 | Allocated |  |  |  | 3089760.644 | 859125971
16 | 1028253.679 | 285626022 | Allocated |  |  |  | 2046606.308 | 569070823
17 | 1028024.68 | 285562411 | Allocated |  |  |  | 999653.566 | 277959506
18 | 1027624.723 | 285451312 | Allocated | 3870515.2104 | 1075143114 | Allocated | 1537526.29 | 427518154
19 | 1020698.176 | 283527271 | Allocated |  |  |  | 2874427.961 | 799251463
20 | 1018507.273 | 282918687 | Allocated | 3507016.219 | 974171172 | Allocated | 5124732.995 | 1424961905
21 | 846793.004 | 235220279 | Allocated |  |  |  | 4556352.037 | 1266920264
22 | 845000.924 | 234722479 | Allocated |  |  |  | 3683626.183 | 1024253749
23 | 992243.218 | 275623116 | Allocated | 3472718.684 | 964644079 | Allocated | 4310388.55 | 1198528681
24 | 996859.372 | 276905381 | Allocated |  |  |  | 5177355.931 | 1439594019
25 | 844735.529 | 234648758 | Allocated |  |  |  | 4312471.356 | 1199107818
26 | 848775.002 | 235770834 | Allocated |  |  |  | 3440296.839 | 956594606
27 | 848489.504 | 235691529 | Allocated |  |  |  | 2565733.031 | 713417037
28 | 1014865.114 | 281906976 | Allocated | 4942404.13 | 1372890036 | Allocated | 3152185.841 | 876483662
29 | 1024950.402 | 284708445 | Allocated |  |  |  | 5462404.234 | 1518853363
30 | 966643.524 | 268512090 | Allocated |  |  |  | 4478611.678 | 1245304104
31 | 966864.6756 | 268573521 | Allocated |  |  |  | 3728048.9688 | 1035569157.9944
(i) | - Send-out injected into the grid during Gas Day D;
(ii) | - Gross unloaded LNG (including Losses and Consumption) from Users during Gas Day D; - Assumes all Scheduled/Allocated LNG on the Gas Day (D) that discharge begins;
(iii) | - Scheduled on the basis of the User's Plan / Allocated when the measured value is available;
(iv) | - LNG in Storage net of the minimum operating level at 6:00 a.m. of Day D+1 converted to energy using a conversion factor 24.1GJ/cubic meter of LNG;
(v) | - Energetic values are reported at the temperature 25°/15°

## June 2023
Terminale GNL Adriatico - June 2023
Days | Send out (i) |  | Allocated | Unloaded LNG (ii) |  | Scheduled/Allocated (iii) | LNG in Storage (iv)
| (GJ) | (kWh) |  | (GJ) | (kWh) |  | (GJ) | (kWh)
1 | 785701.332 | 218250370 | Allocated |  |  |  | 2696341.658 | 749733528
2 | 744968.948 | 206935819 | Allocated |  |  |  | 1932047.903 | 537217190
3 | 742546.159 | 206262822 | Allocated | 4942402.97 | 1372889714 | Allocated | 3272870.382 | 910040703
4 | 749318.386 | 208143996 | Allocated |  |  |  | 5401510.505 | 1501921506
5 | 745941.658 | 207206016 | Allocated |  |  |  | 4642117.616 | 1290767883
6 | 748013.688 | 207781580 | Allocated |  |  |  | 3877088.799 | 1078047158
7 | 749957.558 | 208321544 | Allocated |  |  |  | 3110895.672 | 865002689
8 | 490816.264 | 136337851 | Allocated | 3505815.324 | 973837590 | Allocated | 4025095.394 | 1119201255
9 | 748290.218 | 207858394 | Allocated |  |  |  | 5442004.242 | 1513181026
10 | 747441.018 | 207622505 | Allocated |  |  |  | 4670420.281 | 1298637604
11 | 747551.153 | 207653098 | Allocated |  |  |  | 3903002.172 | 1085252523
12 | 825178.3452 | 229216207 | Allocated |  |  |  | 3088504.845 | 858776789
13 | 1001333.83 | 278148286 | Allocated |  |  |  | 2022898.119 | 562478623
14 | 998537.846 | 277371624 | Allocated | 4957384.698 | 1377051305 | Allocated | 3030337.47 | 842603011
15 | 1004956.999 | 279154722 | Allocated |  |  |  | 4983281.064 | 1385630370
16 | 1036527.984 | 287924440 | Allocated |  |  |  | 3930018.221 | 1092764493
17 | 826981.974 | 229717215 | Allocated |  |  |  | 3092885.214 | 859994776
18 | 822897.544 | 228582651 | Allocated |  |  |  | 2254955.367 | 627003494
19 | 506670.818 | 140741894 | Allocated |  |  |  | 1744527.676 | 485076097
20 | 231273.054 | 64242515 | Allocated |  |  |  | 1506466.862 | 418881899
21 | 234899.888 | 65249969 | Allocated |  |  |  | 1263566.528 | 351342044
22 | 510235.434 | 141732065 | Allocated |  |  |  | 728756.86 | 202635096
23 | 1029562.391 | 285989553 | Allocated | 5080061.203 | 1411128112 | Allocato | 4387026.232 | 1219838236
24 | 1000717.254 | 277977015 | Allocated |  |  |  | 3804739.275 | 1057929951
25 | 1036399.864 | 287888851 | Allocated |  |  |  | 2751109.275 | 764961983
26 | 1036200.589 | 287833497 | Allocated |  |  |  | 1696070.04 | 471602169
27 | 1036019.318 | 287783144 | Allocated |  |  |  | 639744.43 | 177884671
28 | 1037133.932 | 288092759 | Allocated | 5112843.653 | 1420234348 | Allocato | 3827099.767 | 1064147416
29 | 1036948.612 | 288041281 | Allocated |  |  |  | 3694040.695 | 1027149565
30 | 1033798.223 | 287166173 | Allocated |  |  |  | 2645433.649 | 735578259
(i) | - Send-out injected into the grid during Gas Day D;
(ii) | - Gross unloaded LNG (including Losses and Consumption) from Users during Gas Day D; - Assumes all Scheduled/Allocated LNG on the Gas Day (D) that discharge begins;
(iii) | - Scheduled on the basis of the User's Plan / Allocated when the measured value is available;
(iv) | - LNG in Storage net of the minimum operating level at 6:00 a.m. of Day D+1 converted to energy using a conversion factor 24.1GJ/cubic meter of LNG;
(v) | - Energetic values are reported at the temperature 25°/15°

## July 2023
Terminale GNL Adriatico - July 2023
Days | Send out (i) |  | Allocated | Unloaded LNG (ii) |  | Scheduled/Allocated (iii) | LNG in Storage (iv)
| (GJ) | (kWh) |  | (GJ) | (kWh) |  | (GJ) | (kWh)
1 | 1025936.564 | 284982379 | Allocated |  |  |  | 1603075.552 | 445744509
2 | 1026216.248 | 285060069 | Allocated | 4941702.144 | 1372695040 | Allocated | 4919630.644 | 1367932000
3 | 1026185.99 | 285051664 | Allocated |  |  |  | 4516777.276 | 1255916271
4 | 1025431.027 | 284841952 | Allocated | 2225618.5 | 618227361 | Allocated | 5347539.56 | 1486914570
5 | 1025431.027 | 285602054 | Allocated |  |  |  | 4676240.148 | 1300255853
6 | 1061971.524 | 294992090 | Allocated |  |  |  | 3594613.487 | 999503250
7 | 1026367.189 | 285101997 | Allocated |  |  |  | 2558197.996 | 711321876
8 | 1025238.6 | 284788500 | Allocated | 3747469.324 | 1040963701 | Allocated | 5212213.741 | 1449286437
9 | 1020173.71 | 283381586 | Allocated |  |  |  | 4330053.745 | 1203996704
10 | 1025074.606 | 284742946 | Allocated |  |  |  | 3282917.015 | 912834227
11 | 1020731.058 | 283536405 | Allocated |  |  |  | 2232839.967 | 620854178
12 | 1020402.112 | 283445031 | Allocated |  |  |  | 1182824.337 | 328891207
13 | 1024706.912 | 284640809 | Allocated | 5120217.972 | 1422282770 | Allocated | 3529492.993 | 981396116
14 | 1023551.993 | 284319998 | Allocated |  |  |  | 4265851.746 | 1186144963
15 | 1024573.406 | 284603724 | Allocated |  |  |  | 3224657.67 | 896634877
16 | 991737.238 | 275482566 | Allocated |  |  |  | 2213910.291 | 615590671
17 | 1022792.306 | 284108974 | Allocated |  |  |  | 1173696.369 | 326353122
18 | 1025987.983 | 284996662 | Allocated | 5085554.872 | 1412654131 | Allocated | 4384575.787 | 1219156876
19 | 1026846.162 | 285235045 | Allocated |  |  |  | 4224316.726 | 1174595909
20 | 1023584.321 | 284328978 | Allocated |  |  |  | 3180427.112 | 884336312
21 | 1024841.275 | 284678132 | Allocated |  |  |  | 2136843.913 | 594161915
22 | 1025251.326 | 284792035 | Allocated |  |  |  | 1096323.577 | 304839166
23 | 1024977.053 | 284715848 | Allocated | 5112776.354 | 1420215654 | Allocated | 3830285.25 | 1065033158
24 | 1024380.868 | 284550241 | Allocated |  |  |  | 4179534.829 | 1162144041
25 | 1024563.053 | 284600848 | Allocated |  |  |  | 3135277.577 | 871782220
26 | 1029134.545 | 285870707 | Allocated |  |  |  | 2090959.196 | 581403402
27 | 1025962.952 | 284989709 | Allocated |  |  |  | 1049520.124 | 291825193
28 | 1025999.914 | 284999976 | Allocated | 5119791.0516 | 1422164181 | Allocated | 3786789.969 | 1052939042
29 | 1010823.365 | 280784268 | Allocated |  |  |  | 4155091.772 | 1155347506
30 | 1013568.9948 | 281546943 | Allocated |  |  |  | 3122780.5 | 868307335
31 | 1021702.306 | 283806196 | Allocated |  |  |  | 2085323.172 | 579836273
(i) | - Send-out injected into the grid during Gas Day D;
(ii) | - Gross unloaded LNG (including Losses and Consumption) from Users during Gas Day D; - Assumes all Scheduled/Allocated LNG on the Gas Day (D) that discharge begins;
(iii) | - Scheduled on the basis of the User's Plan / Allocated when the measured value is available;
(iv) | - LNG in Storage net of the minimum operating level at 6:00 a.m. of Day D+1 converted to energy using a conversion factor 24.1GJ/cubic meter of LNG;
(v) | - Energetic values are reported at the temperature 25°/15°

## August 2023
Terminale GNL Adriatico - August 2023
Days | Send out (i) |  | Allocated | Unloaded LNG (ii) |  | Scheduled/Allocated (iii) | LNG in Storage (iv)
| (GJ) | (kWh) |  | (GJ) | (kWh) |  | (GJ) | (kWh)
1 | 512046.835 | 142235232 | Allocated |  |  |  | 1571893.698 | 437074213
2 | 236444.429 | 65679008 | Allocated |  |  |  | 1332975.373 | 370641579
3 | 236607.905 | 65724418 | Allocated |  |  |  | 1090626.3162 | 302951754.5
4 | 238156.268 | 66154519 | Allocated |  |  |  | 845826.815 | 235187080
5 | 236530.728 | 65702980 | Allocated |  |  |  | 604029.156 | 167953831
6 | 511300.386 | 142027885 | Allocated | 3673771.517 | 1020492088 | Allocated | 3835553.779 | 1066498103
7 | 830910.28 | 230808411 | Allocated |  |  |  | 2976488.831 | 827630083
8 | 1022322.769 | 283978547 | Allocated |  |  |  | 1925554.176 | 535411571
9 | 1023180.876 | 284216910 | Allocated | 5066751.841 | 1407431067 | Allocated | 4985670.115 | 1386294660
10 | 1026688.381 | 285191217 | Allocated |  |  |  | 4953446.69 | 1377334749
11 | 1026164.966 | 285045824 | Allocated |  |  |  | 3909434.53 | 1087041077
12 | 1025784.734 | 284940204 | Allocated |  |  |  | 2866586.199 | 797071015
13 | 1024672.028 | 284631119 | Allocated |  |  |  | 1825453.541 | 507578006
14 | 1023627.751 | 284341042 | Allocated | 4940024.281 | 1372228967 | Allocated | 5023161.829 | 1396719450
15 | 1025435.88 | 284843300 | Allocated |  |  |  | 4734009.307 | 1316318904
16 | 1025296.171 | 284804492 | Allocated |  |  |  | 3685157.651 | 1024679583
17 | 1025159.047 | 284766402 | Allocated |  |  |  | 2644269.82 | 735254649
18 | 1022856.707 | 284126863 | Allocated | 3819012.232 | 1060836731 | Allocated | 5373085.534 | 1494017777
19 | 1029350.678 | 285930744 | Allocated |  |  |  | 4478673.072 | 1245321174
20 | 1024359.052 | 284544181 | Allocated |  |  |  | 3428779.892 | 953392251
21 | 1022017.817 | 283893838 | Allocated |  |  |  | 2379009.09 | 661497356
22 | 1022188.907 | 283941363 | Allocated |  |  |  | 1328319.503 | 369346987
23 | 1022191.308 | 283942030 | Allocated | 4952117.988 | 1375588330 | Allocated | 4142349.361 | 1151804405
24 | 1026179.798 | 285049944 | Allocated |  |  |  | 4231729.455 | 1176657061
25 | 825886.422 | 229412895 | Allocated |  |  |  | 3392329.22 | 943256929
26 | 472202.356 | 131167321 | Allocated |  |  |  | 2919148.463 | 811686259
27 | 472088.272 | 131135631 | Allocated |  |  |  | 2438799.83 | 678122520
28 | 628656.998 | 174626944 | Allocated |  |  |  | 1794639.206 | 499009901
29 | 478295.186 | 132859774 | Allocated |  |  |  | 1307368.198 | 363521354
30 | 471169.462 | 130880406 | Allocated |  |  |  | 819484.578 | 227862467
31 | 861065.471 | 239184853 | Allocated | 5078500.4088 | 1410694558 | Allocated | 3879722.943 | 1078779597
(i) | - Send-out injected into the grid during Gas Day D;
(ii) | - Gross unloaded LNG (including Losses and Consumption) from Users during Gas Day D; - Assumes all Scheduled/Allocated LNG on the Gas Day (D) that discharge begins;
(iii) | - Scheduled on the basis of the User's Plan / Allocated when the measured value is available;
(iv) | - LNG in Storage net of the minimum operating level at 6:00 a.m. of Day D+1 converted to energy using a conversion factor 24.1GJ/cubic meter of LNG;
(v) | - Energetic values are reported at the temperature 25°/15°

## September 2023
Terminale GNL Adriatico - September 2023
Days | Send out (i) |  | Allocated | Unloaded LNG (ii) |  | Scheduled/Allocated (iii) | LNG in Storage (iv)
| (GJ) | (kWh) |  | (GJ) | (kWh) |  | (GJ) | (kWh)
1 | 1020337.574 | 283427104 | Allocated |  |  |  | 4028587.604 | 1120172284
2 | 1020895.783 | 283582162 | Allocated |  |  |  | 2987944.625 | 830815434
3 | 1021861.894 | 283850526 | Allocato | 3867758.582 | 1074377384 | Allocated | 4950873.698 | 1376619313
4 | 1021827.492 | 283840970 | Allocated |  |  |  | 4883118.819 | 1357779674
5 | 1016625.798 | 282396055 | Allocated |  |  |  | 3840393.516 | 1067843821
6 | 1016497.552 | 282360431 | Allocated |  |  |  | 2800546.969 | 778708422
7 | 1016267.544 | 282296540 | Allocated |  |  |  | 1758678.84 | 489010911
8 | 1016624.995 | 282395832 | Allocated | 3796491.683 | 1054581023 | Allocated | 3808598.642 | 1059003070
9 | 1014805.058 | 281890294 | Allocated |  |  |  | 3563799.465 | 990935231
10 | 1013208.84 | 281446900 | Allocated |  |  |  | 2523952.918 | 701799833
11 | 1021018.759 | 283616322 | Allocated |  |  |  | 1471793.064 | 409240647
12 | 1029073.522 | 285853756 | Allocated | 5079651.509 | 1411014308 | Allocated | 4811075.781 | 1337747687
13 | 1025377.225 | 284827007 | Allocated |  |  |  | 4514449.378 | 1255268985
14 | 1025367.444 | 284824290 | Allocated |  |  |  | 3470866.01 | 965094542
15 | 849481.816 | 235967171 | Allocated |  |  |  | 2603837.476 | 724012200
16 | 0 | 0 | Allocated |  |  |  | 2603837.476 | 724012200
17 | 204768.634 | 56880176 | Allocated |  |  |  | 2391628.81 | 665006342
18 | 1022214.121 | 283948367 | Allocated |  |  |  | 1341000.545 | 372873024
19 | 1024193.405 | 284498168 | Allocated | 4947431.7312 | 1374286592 | Allocated | 4606034.824 | 1280734853
20 | 1024303.039 | 284528622 | Allocated |  |  |  | 4254273.646 | 1182925605
21 | 1024594.834 | 284609676 | Allocated |  |  |  | 3211792.713 | 893057700
22 | 1023730.535 | 284369593 | Allocated |  |  |  | 2171272.618 | 603735018
23 | 1030812.768 | 286336880 | Allocated |  |  |  | 1120215.417 | 311482432
24 | 1029509.402 | 285974834 | Allocated | 4915270.915 | 1365353032 | Allocated | 3825200.42 | 1063619291
25 | 1030910.4 | 286364000 | Allocated |  |  |  | 3991034.496 | 1109730424
26 | 1029905.341 | 286084817 | Allocated |  |  |  | 2944939.531 | 818857616
27 | 1030477.918 | 286243866 | Allocated |  |  |  | 1897741.624 | 527678129
28 | 1030219.463 | 286172073 | Allocated | 4941270.2016 | 1372575056 | Allocated | 3937247.01 | 1094774499
29 | 1029973.478 | 286103744 | Allocated |  |  |  | 4798884.709 | 1334357888
30 | 969794.233 | 269387287 | Allocated |  |  |  | 3811968.064 | 1059939958
(i) | - Send-out injected into the grid during Gas Day D;
(ii) | - Gross unloaded LNG (including Losses and Consumption) from Users during Gas Day D; - Assumes all Scheduled/Allocated LNG on the Gas Day (D) that discharge begins;
(iii) | - Scheduled on the basis of the User's Plan / Allocated when the measured value is available;
(iv) | - LNG in Storage net of the minimum operating level at 6:00 a.m. of Day D+1 converted to energy using a conversion factor 24.1GJ/cubic meter of LNG;
(v) | - Energetic values are reported at the temperature 25°/15°

## October 2023
Terminale GNL Adriatico - October 2023
Days | Send out (i) |  | Allocated | Unloaded LNG (ii) |  | Scheduled/Allocated (iii) | LNG in Storage (iv)
| (GJ) | (kWh) |  | (GJ) | (kWh) |  | (GJ) | (kWh)
1 | 954321.998 | 265089444 | Allocated |  |  |  | 2841530.651 | 790104174
2 | 1037056.81 | 288071336 | Allocated |  |  |  | 1787716.639 | 497085040
3 | 1037746.393 | 288262887 | Allocated | 4947793.2576 | 1374387016 | Allocated | 5168044.335 | 1437004876
4 | 1036819.523 | 288005423 | Allocated |  |  |  | 4676362.454 | 1300289860
5 | 1037159.554 | 288099876 | Allocated |  |  |  | 3622365.055 | 1007219735
6 | 1038138.988 | 288371941 | Allocated |  |  |  | 2568673.661 | 714234696
7 | 1002513.521 | 278475978 | Allocated |  |  |  | 1552228.961 | 431606318
8 | 1002436.531 | 278454592 | Allocated | 3889849.381 | 1080513717 | Allocato | 4439771.955 | 1234504492
9 | 1015022.65 | 281950736 | Allocated |  |  |  | 3500700.143 | 973390096
10 | 1015351.326 | 282042035 | Allocated |  |  |  | 2452890.01 | 682040376
11 | 1015526.372 | 282090659 | Allocated |  |  |  | 1405631.07 | 390843919
12 | 1016146.85 | 282263014 | Allocated | 4947461.2476 | 1374294791 | Allocato | 4270752.877 | 1187507751
13 | 1016248.943 | 282291373 | Allocated |  |  |  | 4327970.698 | 1203417500
14 | 893691.259 | 248247572 | Allocated |  |  |  | 3422653.538 | 951688783
15 | 893652.858 | 248236905 | Allocated |  |  |  | 2513171.007 | 698801859
16 | 1031593.302 | 286553695 | Allocated |  |  |  | 1457396.711 | 405237657
17 | 1030727.725 | 286313257 | Allocated | 4947208.2828 | 1374224523 | Allocated | 4656575.194 | 1294787897
18 | 915945.224 | 254429229 | Allocated |  |  |  | 4477509.002 | 1244997498
19 | 912812.566 | 253559046 | Allocated |  |  |  | 3548728.915 | 986744777
20 | 911791.847 | 253275513 | Allocated |  |  |  | 2619520.277 | 728372894
21 | 717224.45 | 199229014 | Allocated |  |  |  | 1891309.217 | 525889561
22 | 722242.375 | 200622882 | Allocated | 3703500.76 | 1028750211 | Allocated | 4945972.808 | 1375256592
23 | 1013006.9628 | 281390823 | Allocated |  |  |  | 3917030.717 | 1089153241
24 | 911480.5692 | 253189047 | Allocated |  |  |  | 2978571.878 | 828209286
25 | 980569.7172 | 272380477 | Allocated |  |  |  | 1971193.8 | 548101935
26 | 880103.524 | 244473201 | Allocated |  |  |  | 1071635.331 | 297974455
27 | 473317.679 | 131477133 | Allocated |  |  |  | 583383.133 | 162213083
28 | 945576.346 | 262660096 | Allocated | 4934241.9144 | 1370622754 | Allocated | 4349287.259 | 1209344694
29 | 1024763.756 | 284656599 | Allocated |  |  |  | 3550256.29 | 987169472
30 | 1021740.167 | 283816713 | Allocated |  |  |  | 2511164.522 | 698243944
31 | 1030084.78 | 286134661 | Allocated | 4945938.9696 | 1373871936 | Allocated | 2432436.329 | 676353111
(i) | - Send-out injected into the grid during Gas Day D;
(ii) | - Gross unloaded LNG (including Losses and Consumption) from Users during Gas Day D; - Assumes all Scheduled/Allocated LNG on the Gas Day (D) that discharge begins;
(iii) | - Scheduled on the basis of the User's Plan / Allocated when the measured value is available;
(iv) | - LNG in Storage net of the minimum operating level at 6:00 a.m. of Day D+1 converted to energy using a conversion factor 24.1GJ/cubic meter of LNG;
(v) | - Energetic values are reported at the temperature 25°/15°

## November 2023
Terminale GNL Adriatico - November 2023
Days | Send out (i) |  | Allocated | Unloaded LNG (ii) |  | Scheduled/Allocated (iii) | LNG in Storage (iv)
| (GJ) | (kWh) |  | (GJ) | (kWh) |  | (GJ) | (kWh)
1 | 1036299.539 | 287860983 | Allocated |  |  |  | 5407447.14 | 1503572222
2 | 1036887.916 | 288024421 | Allocated |  |  |  | 4353693.149 | 1210569778
3 | 1036574.712 | 287937420 | Allocated |  |  |  | 3298590.907 | 917192444
4 | 1035975.24 | 287770900 | Allocated |  |  |  | 2244692.461 | 624149833
5 | 1036685.056 | 287968071 | Allocated |  |  |  | 1192527.479 | 331589222
6 | 1040430.06 | 289008350 | Allocated | 5088665.232 | 1413518120 | Allocated | 4100631.364 | 1140204472
7 | 1037162.826 | 288100785 | Allocated |  |  |  | 4221540.534 | 1173823972
8 | 1025693.676 | 284914910 | Allocated |  |  |  | 3179078.14 | 883961222
9 | 1026006.725 | 285001868 | Allocated |  |  |  | 2135315.647 | 593736972
10 | 1025840.729 | 284955758 | Allocated | 5117212.9548 | 1421448043 | Allocated | 3777484.634 | 1050351639
11 | 1026112.982 | 285031384 | Allocated |  |  |  | 5217969.807 | 1450886944
12 | 1026385.549 | 285107097 | Allocated |  |  |  | 4174520.301 | 1160749722
13 | 1026574.358 | 285159544 | Allocated |  |  |  | 3860787.248 | 870801936
14 | 1022975.55 | 284159875 | Allocated |  |  |  | 2084009.904 | 579471111
15 | 1030147.679 | 286152133 | Allocated | 3890792.599 | 1080775722 | Allocated | 4684399.711 | 1302524667
16 | 1025100.371 | 284750103 | Allocated |  |  |  | 3970452.973 | 1104007611
17 | 1023132.931 | 284203592 | Allocated |  |  |  | 2922910.564 | 812732333
18 | 1023051.031 | 284180842 | Allocated |  |  |  | 1878377.642 | 522293861
19 | 1023679.084 | 284355301 | Allocated |  |  |  | 828957.313 | 230496417
20 | 1024846.52 | 284679589 | Allocated | 3274993.609 | 909720447 | Allocated | 3086602.608 | 858247861
21 | 1027791.9 | 285497750 | Allocated |  |  |  | 2044573.58 | 568505611
22 | 1027649.441 | 285458178 | Allocated |  |  |  | 1001725.971 | 278535750
23 | 1026588.938 | 285163594 | Allocated | 3893060.948 | 1081405819 | Allocated | 1786816.994 | 496834889
24 | 1022570.852 | 284047459 | Allocated |  |  |  | 2899797.7 | 806305667
25 | 975376.404 | 270937890 | Allocated |  |  |  | 1895471.531 | 527046917
26 | 1025723.65 | 284923236 | Allocated | 5090736.352 | 1414093431 | Allocated | 4884976.034 | 1358296083
27 | 1032875.528 | 286909869 | Allocated |  |  |  | 4939917.238 | 1373572806
28 | 1032110.6 | 286697389 | Allocated |  |  |  | 3890256.15 | 1081708417
29 | 1035498.73 | 287638536 | Allocated |  |  |  | 2840570.986 | 789837333
30 | 1030536.6876 | 286260191 | Allocated |  |  |  | 1790163.545 | 497765417
(i) | - Send-out injected into the grid during Gas Day D;
(ii) | - Gross unloaded LNG (including Losses and Consumption) from Users during Gas Day D; - Assumes all Scheduled/Allocated LNG on the Gas Day (D) that discharge begins;
(iii) | - Scheduled on the basis of the User's Plan / Allocated when the measured value is available;
(iv) | - LNG in Storage net of the minimum operating level at 6:00 a.m. of Day D+1 converted to energy using a conversion factor 24.1GJ/cubic meter of LNG;
(v) | - Energetic values are reported at the temperature 25°/15°

## December 2023
Terminale GNL Adriatico - December 2023
Days | Send out (i) |  | Allocated | Unloaded LNG (ii) |  | Scheduled/Allocated (iii) | LNG in Storage (iv)
| (GJ) | (kWh) |  | (GJ) | (kWh) |  | (GJ) | (kWh)
1 | 395072.5824 | 109742384 | Allocated |  |  |  | 1395342.86 | 387983222
2 | 313413.5952 | 87059332 | Allocated |  |  |  | 1075205.618 | 298967194
3 | 509289.5088 | 141469308 | Allocated | 4840744.2984 | 1344651194 | Allocated | 1487722.089 | 413669806
4 | 1036886.857 | 288024127 | Allocated |  |  |  | 4365707.023 | 1213910306
5 | 1036452.118 | 287903366 | Allocated |  |  |  | 3310556.63 | 920519583
6 | 1035808.636 | 287724621 | Allocated |  |  |  | 2255021.022 | 627021750
7 | 1035435.8556 | 287621071 | Allocated | 4831073.802 | 1341964945 | Allocated | 3832979.584 | 1065782333
8 | 1035705.852 | 287696070 | Allocated |  |  |  | 5025555.214 | 1397384944
9 | 1035859.147 | 287738652 | Allocated |  |  |  | 3969538.088 | 1103753222
10 | 1036818.284 | 288005079 | Allocated |  |  |  | 2916145.236 | 810851194
11 | 1040527.8 | 289035500 | Allocated |  |  |  | 1857937.203 | 516610278
12 | 1038139.582 | 288372106 | Allocated | 5010957.6624 | 1391932684 | Allocated | 5224349.921 | 1452660972
13 | 1037899.411 | 288305392 | Allocated |  |  |  | 4807331.257 | 1336706500
14 | 1039282.348 | 288689541 | Allocated |  |  |  | 3751145.6 | 1043027917
15 | 1040371.783 | 288992162 | Allocated |  |  |  | 2697295.305 | 749998694
16 | 1039906.933 | 288863037 | Allocated |  |  |  | 1642650.505 | 456748556
17 | 1035623.999 | 287673333 | Allocated | 5011604.8236 | 1392112451 | Allocated | 4924966.104 | 1369415556
18 | 1035520.61 | 287644614 | Allocated |  |  |  | 4604804.786 | 1280392833
19 | 1036973.772 | 288048270 | Allocated |  |  |  | 3546283.766 | 986064889
20 | 1035919.7208 | 287755478 | Allocated |  |  |  | 2490748.159 | 692567056
21 | 1035913.097 | 287753638 | Allocated |  |  |  | 1434056.908 | 398747889
22 | 1036092.449 | 287803458 | Allocated | 4855186.2744 | 1348662854 | Allocated | 4517698.18 | 1256172333
23 | 769670.777 | 213797438 | Allocated |  |  |  | 4508404.882 | 1253588278
24 | 492131.0664 | 136703074 | Allocated |  |  |  | 4011117.168 | 1115314528
25 | 496278.392 | 137855109 | Allocated |  |  |  | 3500756.24 | 973405694
26 | 492409.087 | 136780302 | Allocated |  |  |  | 2998027.372 | 833619000
27 | 508990.7844 | 141386329 | Allocated |  |  |  | 2476422.998 | 688583861
28 | 516622.187 | 143506163 | Allocated |  |  |  | 1952266.579 | 542839111
29 | 510752.93 | 141875814 | Allocated | 3115932.912 | 865536920 | Allocated | 4513147.835 | 1254907083
30 | 489320.309 | 135922308 | Allocated |  |  |  | 4082550.363 | 1135176944
31 | 631798.301 | 175499528 | Allocated |  |  |  | 3426048.722 | 952632833
(i) | - Send-out injected into the grid during Gas Day D;
(ii) | - Gross unloaded LNG (including Losses and Consumption) from Users during Gas Day D; - Assumes all Scheduled/Allocated LNG on the Gas Day (D) that discharge begins;
(iii) | - Scheduled on the basis of the User's Plan / Allocated when the measured value is available;
(iv) | - LNG in Storage net of the minimum operating level at 6:00 a.m. of Day D+1 converted to energy using a conversion factor 24.1GJ/cubic meter of LNG;
(v) | - Energetic values are reported at the temperature 25°/15°

## January 2024
Terminale GNL Adriatico - January 2024
Days | Send out (i) |  | Allocated | Unloaded LNG (ii) |  | Scheduled/Allocated (iii) | LNG in Storage (iv)
| (GJ) | (kWh) |  | (GJ) | (kWh) |  | (GJ) | (kWh)
1 | 986799.892 | 274111081 | Allocated |  |  |  | 2423600.474 | 673896250
2 | 987292.343 | 274247873 | Allocated |  |  |  | 1416842.639 | 393961361
3 | 986640.142 | 274066706 | Allocated | 5086256.832 | 1412849120 | Allocated | 3675980.64 | 1022127861
4 | 984605.13 | 273501425 | Allocated |  |  |  | 4545987.362 | 1264038306
5 | 984528.871 | 273480242 | Allocated |  |  |  | 3546644.905 | 986165306
6 | 511931.088 | 142203080 | Allocated |  |  |  | 3031059.506 | 842803778
7 | 512275.421 | 142298728 | Allocated |  |  |  | 2506180.811 | 696858194
8 | 630888.257 | 175246738 | Allocated |  |  |  | 1855409.234 | 515907361
9 | 1025526.251 | 284868403 | Allocated |  |  |  | 810442.946 | 225348389
10 | 1023402.928 | 284278591 | Allocated | 3831118.236 | 1064199510 | Allocated | 2876275.545 | 799765194
11 | 1026603.421 | 285167617 | Allocated |  |  |  | 2622973.001 | 729332944
12 | 1025916.023 | 284976673 | Allocated | 3978984.589 | 1105273497 | Allocated | 5394349.85 | 1499930444
13 | 1001245.756 | 278123821 | Allocated |  |  |  | 4568064.962 | 1270177111
14 | 1021447.418 | 283735394 | Allocated |  |  |  | 3523363.51 | 979691778
15 | 1021404.362 | 283723434 | Allocated |  |  |  | 2485355.157 | 691067500
16 | 1025145.796 | 284762721 | Allocated | 4937180.479 | 1371439022 | Allocated | 3325604.067 | 924703611
17 | 1025778.47 | 284938464 | Allocated |  |  |  | 5382576.735 | 1496656861
18 | 1025248.648 | 284791291 | Allocated |  |  |  | 4336117.742 | 1205682833
19 | 896340.064 | 248983351 | Allocated |  |  |  | 3429106.361 | 953483028
20 | 1024123.327 | 284478702 | Allocated |  |  |  | 2387342.168 | 663814417
21 | 1024217.32 | 284504811 | Allocated | 5119639.2756 | 1422122021 | Allocated | 3505860.33 | 974824917
22 | 1023743.048 | 284373069 | Allocated |  |  |  | 5478519.197 | 1523334222
23 | 1028034.594 | 285565165 | Allocated |  |  |  | 4433215.847 | 1232681528
24 | 1028441.873 | 285678298 | Allocated |  |  |  | 3384806.705 | 941165250
25 | 1024909.682 | 284697134 | Allocated |  |  |  | 2340731.226 | 650853972
26 | 1025070.649 | 284741847 | Allocated | 5026006.7496 | 1396112986 | Allocated | 3183315.498 | 885139444
27 | 1023832.217 | 284397838 | Allocated |  |  |  | 5330380.184 | 1482143306
28 | 748268.564 | 207852379 | Allocated |  |  |  | 4572422.7 | 1271388806
29 | 594253.325 | 165070368 | Allocated |  |  |  | 3968430.597 | 1103445278
30 | 591059.023 | 164183062 | Allocated |  |  |  | 3363668.065 | 935287528
31 | 591610.979 | 164336383 | Allocated |  |  |  | 2763239.195 | 768334778
(i) | - Send-out injected into the grid during Gas Day D;
(ii) | - Gross unloaded LNG (including Losses and Consumption) from Users during Gas Day D; - Assumes all Scheduled/Allocated LNG on the Gas Day (D) that discharge begins;
(iii) | - Scheduled on the basis of the User's Plan / Allocated when the measured value is available;
(iv) | - LNG in Storage net of the minimum operating level at 6:00 a.m. of Day D+1 converted to energy using a conversion factor 24.1GJ/cubic meter of LNG;
(v) | - Energetic values are reported at the temperature 25°/15°

## February 2024
Terminale GNL Adriatico - February 2024
Days | Send out (i) |  | Allocated | Unloaded LNG (ii) |  | Scheduled/Allocated (iii) | LNG in Storage (iv)
| (GJ) | (kWh) |  | (GJ) | (kWh) |  | (GJ) | (kWh)
1 | 590976.45 | 164160125 | Allocated |  |  |  | 2165482.75 | 602125111
2 | 590831.532 | 164119870 | Allocated |  |  |  | 1558649.69 | 433391639
3 | 591831.745 | 164397707 | Allocated |  |  |  | 955066.877 | 265561917
4 | 592648.189 | 164624497 | Allocated | 3775329.752 | 1048702709 | Allocated | 3252533.711 | 904385972
5 | 592755.79 | 164654386 | Allocated |  |  |  | 3534751.41 | 982858250
6 | 593507.696 | 164863249 | Allocated |  |  |  | 2935887.474 | 816340639
7 | 589497.692 | 163749359 | Allocated |  |  |  | 2335771.59 | 649474917
8 | 979603.567 | 272112102 | Allocated |  |  |  | 1342351.805 | 373248750
9 | 1014994.71 | 281942975 | Allocated | 3908967.041 | 1085824178 | Allocated | 4317001.477 | 1200367444
10 | 1011232.912 | 280898031 | Allocated |  |  |  | 3276296.624 | 910993389
11 | 1010962.685 | 280822968 | Allocated |  |  |  | 2241971.884 | 623393361
12 | 1008930.168 | 280258380 | Allocated | 4943535.077 | 1373204188 | Allocated | 3835170.491 | 1066391528
13 | 1016342.557 | 282317377 | Allocated |  |  |  | 5166977.051 | 1436708111
14 | 1014243.894 | 281734415 | Allocated |  |  |  | 4136745.214 | 1150246139
15 | 1014561.158 | 281822544 | Allocated |  |  |  | 3102444.55 | 862652806
16 | 1010978.946 | 280827485 | Allocated |  |  |  | 2074307.316 | 576773250
17 | 1010844.108 | 280790030 | Allocated |  |  |  | 1044821.832 | 290518806
18 | 1011755.236 | 281043121 | Allocated | 5094784.782 | 1415217995 | Allocated | 4855001.539 | 1349961500
19 | 1015923.164 | 282200879 | Allocated |  |  |  | 4120108.767 | 1145620278
20 | 1012934.416 | 281370671 | Allocated |  |  |  | 3084363.549 | 857625278
21 | 1009145.653 | 280318237 | Allocated |  |  |  | 2061378.558 | 573178333
22 | 1013698.969 | 281583047 | Allocated |  |  |  | 1025512.961 | 285149861
23 | 354915.81 | 98587725 | Allocated |  |  |  | 677471.75 | 188374972
24 | 552711.128 | 153530869 | Allocated | 4962444.9804 | 1378456939 | Allocated | 1875247.775 | 521423583
25 | 1025567.298 | 284879805 | Allocated |  |  |  | 4072269.954 | 1132318417
26 | 1036607.954 | 287946654 | Allocated |  |  |  | 3013315.568 | 837869972
27 | 1036976.872 | 288049131 | Allocated |  |  |  | 1955155.687 | 543642444
28 | 1037566.289 | 288212858 | Allocated |  |  |  | 899547.852 | 250124528
29 | 1037552.368 | 288208991 | Allocated | 4920492.42 | 1366803450 | Allocated | 2600678.718 | 723133889
(i) | - Send-out injected into the grid during Gas Day D;
(ii) | - Gross unloaded LNG (including Losses and Consumption) from Users during Gas Day D; - Assumes all Scheduled/Allocated LNG on the Gas Day (D) that discharge begins;
(iii) | - Scheduled on the basis of the User's Plan / Allocated when the measured value is available;
(iv) | - LNG in Storage net of the minimum operating level at 6:00 a.m. of Day D+1 converted to energy using a conversion factor 24.1GJ/cubic meter of LNG;
(v) | - Energetic values are reported at the temperature 25°/15°

## March 2024
Terminale GNL Adriatico - March 2024
Days | Send out (i) |  | Allocated | Unloaded LNG (ii) |  | Scheduled/Allocated (iii) | LNG in Storage (iv)
| (GJ) | (kWh) |  | (GJ) | (kWh) |  | (GJ) | (kWh)
1 | 1036352.657 | 287875738 | Allocated |  |  |  | 3767180.149 | 1047486417
2 | 1036885.594 | 288023776 | Allocated |  |  |  | 2711235.251 | 753874778
3 | 1037378.426 | 288160674 | Allocated |  |  |  | 1652208.638 | 459406250
4 | 1038237.25 | 288399236 | Allocated | 5101413.4224 | 1417059284 | Allocated | 1512640.645 | 420598556
5 | 1036270.033 | 287852787 | Allocated |  |  |  | 4695354.246 | 1305570639
6 | 1037518.535 | 288199593 | Allocated |  |  |  | 3636953.606 | 1011276167
7 | 1038213.151 | 288392542 | Allocated |  |  |  | 2580069.748 | 717403444
8 | 1035568.285 | 287657857 | Allocated | 3796589.034 | 1054608065 | Allocated | 4850836.408 | 1348803361
9 | 896242.73 | 248956314 | Allocated |  |  |  | 4529134.232 | 1259352194
10 | 894972.301 | 248603417 | Allocated |  |  |  | 3602910.283 | 1001810222
11 | 1004479.06 | 279021961 | Allocated |  |  |  | 2565238.993 | 713279667
12 | 1000696.745 | 277971318 | Allocated |  |  |  | 1534260.803 | 426610167
13 | 783768.143 | 217713373 | Allocated |  |  |  | 730222.047 | 203042500
14 | 783957.694 | 217766026 | Allocated | 5077805.8176 | 1410501616 | Allocated | 2148340.709 | 597358667
15 | 1032536.621 | 286815728 | Allocated |  |  |  | 3989135.871 | 1109202500
16 | 1028786.375 | 285773993 | Allocated |  |  |  | 2937163.496 | 816695444
17 | 1029085.578 | 285857105 | Allocated |  |  |  | 1886924.587 | 524670389
18 | 1034923.838 | 287478844 | Allocated | 5077089.0972 | 1410302527 | Allocated | 3621328.347 | 1006931472
19 | 1035933.25 | 287759236 | Allocated |  |  |  | 4904429.361 | 1363705194
20 | 1036348.153 | 287874487 | Allocated |  |  |  | 3847569.579 | 1069839167
21 | 1025082.032 | 284745009 | Allocated |  |  |  | 2806070.221 | 780244194
22 | 1029763.148 | 286045319 | Allocated | 1280141.7012 | 355594917 | Allocated | 3066788.142 | 852738333
23 | 1024411.928 | 284558869 | Allocated |  |  |  | 2023844.23 | 562741694
24 | 1025204.9 | 284779139 | Allocated | 5089526.3556 | 1413757321 | Allocated | 3653903.039 | 1015989056
25 | 1024171.978 | 284492216 | Allocated |  |  |  | 5076331.287 | 1411503528
26 | 1023086.79 | 284190775 | Allocated |  |  |  | 4031485.379 | 1120978028
27 | 1022879.236 | 284133121 | Allocated |  |  |  | 2988011.797 | 830834111
28 | 1023379.47 | 284272075 | Allocated |  |  |  | 1944249.305 | 540609861
29
30
31
(i) | - Send-out injected into the grid during Gas Day D;
(ii) | - Gross unloaded LNG (including Losses and Consumption) from Users during Gas Day D; - Assumes all Scheduled/Allocated LNG on the Gas Day (D) that discharge begins;
(iii) | - Scheduled on the basis of the User's Plan / Allocated when the measured value is available;
(iv) | - LNG in Storage net of the minimum operating level at 6:00 a.m. of Day D+1 converted to energy using a conversion factor 24.1GJ/cubic meter of LNG;
(v) | - Energetic values are reported at the temperature 25°/15°